Good afternoon, Mr Choi,
I would like to explain about the Young In Chrozen GC for FAME Analysis that I am installing right now. This morning when I tried to run the standard, I set the FID H2 flow rate to 40ml/min but after the detector on the H2 Flow constantly dropped. After 10 min sample analysis the H2 flow dropped to 37ml/min and after 20 min dropped to 36ml/min. after 40 min of running the H2 flow dropped to 32. And the GC will not be ready for the next injection since the FID H2 Flow is continuously dropped.